## TempVib F4 Setup
Hanse Environmental Standard Watlow Temprature and Vibration Controler | [8 empty] | Yellow Denotes Features Recently added or changed.
If older system alarms and Digital inputs may be desabled for your setup.
System Menu | Setting | [7 empty] | You can enable alarms but there outputs may not fully engage saftys
Guar. Soak Band 1 | 1 | [7 empty] | If wires precent on terminals 4 & 5 Alarm 1 present
Guar. Soak Band 2 | 1 | [7 empty] | If Wires present on terminals 8 & 7 Alarm 2 Present
Current Time | [8 empty] | If Wires Present on terminals 27 & 28 Digital Input 1 Present
Current Date | [8 empty] | If Wires Present on terminals 27 & 29 Digital Input 2 Pressent
PID Units | US | [7 empty] | If Wires Present on Terminals 27 & 30 Digial Input 3 Pressent
F or C | C | [7 empty] | If Wires Present on Terminals 27 & 31 Digial Input 4 Pressent
Show F or C | Yes
Ch1 Autotune SP | 90%
Ch2 Autotune Sp | 90%
Input 1 Fail | off
Input 2 Fail | off
Open Loop Ch1 | off
Open Loop Ch2 | off
Power-Out Time | 10 seconds
Power-Out Action | continue
Input Menu | Analog In1 | Analog In 2 | Analog In 3 | Digital In 1 | Digital In2 | Digital In 3 | Digital In 4
Sensor | Thermocouple | Process | Thermocouple
Type | T | 0 to 5V | T
Decimal | 0 | 0 | 0
Altitude | 0 | 0 | 0
Units | N/A | units | N/A
Scale Low | N/A | 0 | N/A
Scale High | N/A | 500 | N/A
SP Low Limit | -100 | 0 | -100
SP High Limit | 200 | 100 | 200
Calibration Offset | 0 | 0 | 0
Filter Time | 1 | 1 | 1
Error Latch | Self Clear | Self Clear | Self Clear
Cascade | N/A | N/A | Deviation Cascade
Cascade Low Range |  |  | -10
Cascade High Range |  |  | 10
Name |  |  |  | Fans | Doors | N/A | N/A
Function |  |  |  | Control outputs off | All Outputs Off | N/A | N/A
Condition |  |  |  | Low | Low | N/A | N/A
Control Output Menu | Output 1A | Output 1B | Output 2A | Output 2B | Alarm 1 | Alarm 2 | Retrans 1 | Retrans 2
Function | Heat | Cool | Heat | Off
Cycle Time | N/A | N/A | N/A | N/A
Process Type | 4 to 20 mA | 4 to 20 mA | 4 to 20 mA | N/A
Hi Power Limit | 100 | 100 | 100 | N/A
Lo Power Limit | 0 | 0 | 0 | N/A
Alarm Name |  |  |  |  | Product | Vibration
Alarm Type |  |  |  |  | Process | Process
Alarm Sourc |  |  |  |  | Input 3 | Input 2
Latching |  |  |  |  | Self Clears | Self Clears
Silencing |  |  |  |  | no | no
Alarm Hysteresis |  |  |  |  | 3 | 3
Alarm Sides |  |  |  |  | Both | High
Alarm Logic |  |  |  |  | Onpen on Alarm | Open On Alarm
Alarm Messages |  |  |  |  | Yes | Yes
Retransmit Source | [6 empty] | N/A | N/A
Analog Range | [6 empty] | N/A | N/A
Low Scale | [6 empty] | N/A | N/A
High Scale | [6 empty] | N/A | N/A
Scale Offset | [6 empty] | N/A | N/A
Digital Output Menu | Digit Out1 | Digit Out2 | Digit Out3 | Digit Out4 | Digit Out5 | Digit Out6 | Digit Out7 | Digit Out8
Name | Heat | Cool | Vibration | Humidity | empty | empty | Purge | Fans
Function | Event Output | Event Output | Event Output | Event Output | off | off | Event Output | Event Output
Boost % Power | [5 empty] | N/A | N/A
Boost Delay | [5 empty] | N/A | N/A
Compressor On % Power | [7 empty] | N/A
Compressor Off % Power | [7 empty] | N/A
Compressor On Delay | [7 empty] | N/A
Compressor Off Delay | [7 empty] | N/A
Communications Menu | Settings
Baud Rate | 19200
Address | 1

## Humidity F4 Setup
Hanse Environmental Standard Watlow Humidity Controler
System Menu | Setting
Guar. Soak Band 1 | 1
Guar. Soak Band 2 | 1
Current Time
Current Date
PID Units | US
F or C | C
Show F or C | Yes
Ch1 Autotune SP | 90%
Ch2 Autotune Sp | 90%
Input 1 Fail | off
Input 2 Fail | off
Open Loop Ch1 | off
Open Loop Ch2 | off
Power-Out Time | 10 seconds
Power-Out Action | continue
Input Menu | Analog In1 | Analog In 2 | Analog In 3 | Digital In 1 | Digital In2 | Digital In 3 | Digital In 4
Sensor | Process | Off | Off
Type | 4 to 20 mA | N/A | N/A
Decimal | 0 | N/A | N/A
Altitude | 0 | N/A | N/A
Units | %rh | N/A | N/A
Scale Low | 0 | N/A | N/A
Scale High | 100 | N/A | N/A
SP Low Limit | 0 | N/A | N/A
SP High Limit | 100 | N/A | N/A
Calibration Offset | 0 | N/A | N/A
Filter Time | 1 | N/A | N/A
Error Latch | Self Clear | N/A | N/A
Cascade | N/A | N/A | N/A
Cascade Low Range |  |  | N/A
Cascade High Range |  |  | N/A
Name |  |  |  | N/A | N/A | N/A | N/A
Function |  |  |  | N/A | N/A | N/A | N/A
Condition |  |  |  | N/A | N/A | N/A | N/A
Control Output Menu | Output 1A | Output 1B | Output 2A | Output 2B | Alarm 1 | Alarm 2 | Retrans 1 | Retrans 2
Function | Heat | Cool | Off | Off
Cycle Time | 2 | 2 | N/A | N/A
Process Type | N/A | N/A | N/A | N/A
Hi Power Limit | 100 | 100 | N/A | N/A
Lo Power Limit | 0 | 0 | N/A | N/A
Alarm Name |  |  |  |  | N/A | N/A
Alarm Type |  |  |  |  | N/A | N/A
Alarm Sourc |  |  |  |  | N/A | N/A
Latching |  |  |  |  | N/A | N/A
Silencing |  |  |  |  | N/A | N/A
Alarm Hysteresis |  |  |  |  | N/A | N/A
Alarm Sides |  |  |  |  | N/A | N/A
Alarm Logic |  |  |  |  | N/A | N/A
Alarm Messages |  |  |  |  | N/A | N/A
Retransmit Source | [6 empty] | N/A | N/A
Analog Range | [6 empty] | N/A | N/A
Low Scale | [6 empty] | N/A | N/A
High Scale | [6 empty] | N/A | N/A
Scale Offset | [6 empty] | N/A | N/A
Digital Output Menu | Digit Out1 | Digit Out2 | Digit Out3 | Digit Out4 | Digit Out5 | Digit Out6 | Digit Out7 | Digit Out8
Name | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Function | Off | Off | Off | Off | Off | Off | Off | Off
Boost % Power | [5 empty] | N/A | N/A
Boost Delay | [5 empty] | N/A | N/A
Compressor On % Power | [7 empty] | N/A
Compressor Off % Power | [7 empty] | N/A
Compressor On Delay | [7 empty] | N/A
Compressor Off Delay | [7 empty] | N/A
Communications Menu | Settings
Baud Rate | 19200
Address | 2